# 1 Quantitate DNA (Optional)

## Run Information

|  |  |
| --- | --- |
| Date |   |
| Time |   |
| Operator |   |

## Robot Information

|  |  |
| --- | --- |
| Robot ID |   |

## WG#-DNA Plate

|  |  |
| --- | --- |
| Plate 1 ID |   |
| Plate 2 ID |   |
| Plate 3 ID |   |

## Standard DNA Plate

|  |  |
| --- | --- |
| Plate ID |   |

## QNT Plate

|  |  |
| --- | --- |
| Plate 1 ID |   |
| Plate 2 ID |   |
| Plate 3 ID |   |

|  |
| --- |
| Comments |
|   |

# 2 Amplify DNA (Pre-Amp)

## Run Information

|  |  |
| --- | --- |
| Date |   |
| Time |   |
| Operator |   |

## Robot Information

|  |  |
| --- | --- |
| Robot ID |   |
| Plate Position on Robot Bed |   |

## Batch Information

|  |  |
| --- | --- |
| Batch Number |   |
| Number of Samples |   |

## Plates

|  |  |
| --- | --- |
| WG#-DNA Plate ID |   |
| MSA3 Plate ID |   |

## Reagent Lot Numbers and Bar Codes

|  |  |
| --- | --- |
| MA1 |   |
| MA2 |   |
| MSM |   |
| 0.1N NaOH |   |

## [ ] Vortex plate at 1600 rpm for 1 minute.

## [ ] Centrifuge plate to 280 × g at 22°C for 1 minute.

## [ ] Centrifuge plate to 280 × g at 22°C for 1 minute.

|  |
| --- |
| Comments |
|   |

## WG#-DNA Sample IDs

Columns 1 - 4 of the Microtiter Plate

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | 1 | 2 | 3 | 4 |
| A |   |   |   |   |
| B |   |   |   |   |
| C |   |   |   |   |
| D |   |   |   |   |
| E |   |   |   |   |
| F |   |   |   |   |
| G |   |   |   |   |
| H |   |   |   |   |

Columns 5 - 8 of the Microtiter Plate

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | 5 | 6 | 7 | 8 |
| A |   |   |   |   |
| B |   |   |   |   |
| C |   |   |   |   |
| D |   |   |   |   |
| E |   |   |   |   |
| F |   |   |   |   |
| G |   |   |   |   |
| H |   |   |   |   |

Columns 9 - 12 of the Microtiter Plate

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | 9 | 10 | 11 | 12 |
| A |   |   |   |   |
| B |   |   |   |   |
| C |   |   |   |   |
| D |   |   |   |   |
| E |   |   |   |   |
| F |   |   |   |   |
| G |   |   |   |   |
| H |   |   |   |   |

# 3 Incubate DNA (Post-Amp)

## Incubate in Hyb Oven for 20-24 Hours at 37°C.

|  |  |
| --- | --- |
| Start Time |   |
| Stop Time |   |

# 4 Fragment DNA (Post-Amp)

## Run Information

|  |  |
| --- | --- |
| Date |   |
| Time |   |
| Operator |   |

## Robot Information

|  |  |
| --- | --- |
| Robot ID |   |
| Plate Position on Robot Bed |   |

## Reagent Lot Numbers and Bar Codes

|  |  |
| --- | --- |
| FMS |   |

## [ ] Centrifuge tubes to 280 × g.

## [ ] Centrifuge plate to 50 × g for 1 minute.

## [ ] Vortex plate at 1600 rpm for 1 minute.

## [ ] Centrifuge plate to 50 × g for 1 minute.

## Heat Block at 37°C for One Hour

|  |  |
| --- | --- |
| Start Time |   |
| Stop Time |   |

|  |
| --- |
| Comments |
|   |

# 5 Precipitate DNA (Post-Amp)

## Run Information

|  |  |
| --- | --- |
| Date |   |
| Time |   |
| Operator |   |

## Robot Information

|  |  |
| --- | --- |
| Robot ID |   |
| Plate Position on Robot Bed |   |

## Reagent Lot Numbers and Bar Codes

|  |  |
| --- | --- |
| PM1 |   |
| 100% 2 Propanol |   |
| 100% 2 Propanol Date Opened |   |

## [ ] Centrifuge plate to 280 × g for 1 minute.

## [ ] Vortex plate at 1600 rpm for 1 minute.

## Incubate at 37°C for 5 minutes.

|  |  |
| --- | --- |
| Start Time |   |
| Stop Time |   |

## [ ] Centrifuge plate to 50 × g for 1 minute.

## Incubate at 4°C for 30 minutes.

|  |  |
| --- | --- |
| Start Time |   |
| Stop Time |   |

## [ ] Centrifuge plate to 3000 × g at 4°C for 20 minute.

## Air Dry at 22°C for 1 Hour

|  |  |
| --- | --- |
| Start Time |   |
| Stop Time |   |

|  |
| --- |
| Comments |
|   |

# 6 Resuspend DNA (Post-Amp)

## Run Information

|  |  |
| --- | --- |
| Date |   |
| Time |   |
| Operator |   |

## Robot Information

|  |  |
| --- | --- |
| Robot ID |   |
| Plate Position on Robot Bed |   |

## Reagent Lot Numbers and Bar Codes

|  |  |
| --- | --- |
| RA1 |   |

## [ ] Vortex plate at 1800 rpm for 1 minute.

## [ ] Centrifuge plate to 280 × g.

|  |
| --- |
| Comments |
|   |

# 7 Hybridize DNA (Post-Amp)

## Run Information

|  |  |
| --- | --- |
| Date |   |
| Time |   |
| Operator |   |

## Robot Information

|  |  |
| --- | --- |
| Robot ID |   |

## Reagent Lot Numbers and Bar Codes

|  |  |
| --- | --- |
| PB2 |   |

## Heat Block at 95°C for 20 minutes

|  |  |
| --- | --- |
| Start Time |   |
| Stop Time |   |

## [ ] MSA3 plate cool down for 30 minutes at room temperature

## [ ] Centrifuge MSA3 plate to 280 × g

## Robot Information

|  |  |
| --- | --- |
| Plate Position on Robot Bed |   |

|  |  |
| --- | --- |
| BeadChip 1 Serial Number and Position |   |
| BeadChip 2 Serial Number and Position |   |
| BeadChip 3 Serial Number and Position |   |
| BeadChip 4 Serial Number and Position |   |

## [ ] Centrifuge MSA3 plate to 280 × g.

## Hyb Oven Incubation at 48°C for 16 to 24 hours

|  |  |
| --- | --- |
| Start Time |   |
| Stop Time |   |

|  |
| --- |
| Comments |
|   |

|  |  |  |
| --- | --- | --- |
| Track BeadChips 1-4 for the 24x1 HTS BeadChipAdjustable Spacer Multi-Channel Pipette |  | Sample Section Naming Diagram |
|   |

# 8 Wash BeadChip (Post-Amp)

## Run Information

|  |  |
| --- | --- |
| Date |   |
| Time |   |
| Operator |   |

## Reagent Lot Numbers and Bar Codes

|  |  |
| --- | --- |
| PB1 |   |

|  |
| --- |
| Comments |
|   |

# 9 Extend and Stain (XStain) BeadChip (Post-Amp)

## Run Information

|  |  |
| --- | --- |
| Date |   |
| Time |   |
| Operator |   |

## Robot Information

|  |  |
| --- | --- |
| Robot ID |   |

## Reagent Lot Numbers and Bar Codes

|  |  |
| --- | --- |
| RA1 |   |
| LX1 |   |
| LX2 |   |
| EML |   |
| XC3 |   |
| SML |   |
| SML Temperature |   |
| ATM |   |
| PB1  |   |
| XC4 |   |
| Alconox Powder Detergent |   |
| EtOH |   |
| EtOH Date Opened |   |
| 95% formamide/1mM EDTA |   |

## Dry in Desiccator > 675 mm Hg (0.9 bar) for 50-55 minutes

|  |  |
| --- | --- |
| Start Time |   |
| Stop Time |   |

|  |
| --- |
| Comments |
|   |

# 10 Image BeadChip (Post-Amp)

## Run Information

|  |  |
| --- | --- |
| Operator |   |

## BeadChip 1

|  |  |
| --- | --- |
| Barcode Number |   |
| Scanner ID |   |
| Image Date |   |

## BeadChip 2

|  |  |
| --- | --- |
| Barcode Number |   |
| Scanner ID |   |
| Image Date |   |

## BeadChip 3

|  |  |
| --- | --- |
| Barcode Number |   |
| Scanner ID |   |
| Image Date |   |

## BeadChip 4

|  |  |
| --- | --- |
| Barcode Number |   |
| Scanner ID |   |
| Image Date |   |

|  |
| --- |
| Comments |
|   |